Specifications

AB2231H+AS8231D

Close Coupled Back to Wall Toilet Suites

DESCRIPTION

• Rimless, hygienic flush pan

• UF quick release, soft close seat

• High quality, R&T flush mechanism

• Water inlet: top left or bottom right inlet;

• Included components:

Toilet tank 4.5/3L

Toilet Pan, P Trap

UF cover&seat

Vario pan connector for Strap

Fill valve

• S-Trap Installation: set out: 70-140mm

• P-Trap installation: set out: 180mm

Standard Installation

Toilet outlet

- Toilet outlet