Anti-bacterial glazing

Super hydrophilic

Anti-stain technology

Easier cleaning

Rimless technology

- Code: AB2232+AS8232D

- Warranty:  25 Years warranty on ceramic

1 Years warranty on the toilet seat

3 Years warranty on the cisterns valves， plastic and internal parts

Specifications

AB2232H+AS8232D

Close Coupled Back to Wall Toilet Suite

Soft close, quick release seat

WELS 4 star, 4.5/3 ltrs/min

Size: 654X398X810MM

Bottom and back inlet available

• S-Trap Installation: set out: 70-140mm

• P-Trap installation: set out: 185mm

Model AB2232H+AS8232D                                                   Standard Installation

Toilet outlet